## Slide 1: Photodetectors
Lecturer: Mauro Mosca
(www.dieet.unipa.it/tfl)
last update: 05/10/2021
University of Palermo – Master in Electronic Engineering

## Slide 2
Overview
Thermal photodetectors
Photomultipliers
Responsivity and quantum efficiency
Spectral response
Detectivity
Time response
Photoconductors
p-n and p-i-n photodiodes
Phototransistors
Avalance PhotoDetectors (APD)
Charge-Coupled Devices (CCD)

## Slide 3: Photodetector
Thermal
  Thermoelectric
  Bolometers
  Pyroelectric
Photonic
  Photomultipliers
  Photoconductors
  Photovoltaics
semiconductor-based

## Slide 4: Thermoelectric detectors
- Principle of thermocouples
large electrical
conductivities
thermopile
minimize Joule
heating effects
small thermal
conductivities
minimize heat
conduction losses

## Slide 5: Bolometers
current flowing SMALL
Why?...
current must not
raise temperature
too much
aPt ~ aNi =
= 0.005 K-1
Sensing
element

## Slide 6: Pyroelectric detectors
ferroelectric material
molecules with a permanent electrical dipole
lead zirconate
lithium tantalate
PID = Passive Infrared Detectors
(motion sensors)

## Slide 7: Photomultipliers
Dynodes (~ 100 V)
+
++
+++
++
++
++
++
++
++
++
++
vacuum tube
large mean free path for the secundary electrons

## Slide 8
Semiconductor photonic detectors:
FOUR questions
1.
2.
3.
4.

## Slide 9
Responsivity and Quantum efficiency
Ip = R Pin
R =
h (quantum efficiency of the detector) =
ratio of the number of hole–electron pairs generated to the number of incident photons
R
h
and
are correlated!
1.

## Slide 10
Pin
w
a
Responsivity and Quantum efficiency
Ptr
- not all incident photons produce electron-hole pairs because some photons fail to be absorbed because of the probabilistic nature of the absorption process
- other photons may be reflected at the surface of the detector

## Slide 11
Spectral response
2.

## Slide 12
3.
Detectivity
- The signal-to-noise (S/N) ratio indicates the amplitude of the signals compared to noise current (or voltage)
- If the S/N increases, the quality of the detected signal increases
- This corresponds to a high detectivity and a low noise equivalent power (NEP)
(we will study them in details in the section dedicated to the UV and IR detectors)

## Slide 13
Detectivity
the signal power that gives a signal-to-noise ratio of one in a fixed output bandwidth (1 Hz)
NEP:
D = 1/NEP
Detectivity:
sensitivity: ability to detect low-level optical signals
high sensitivity
low NEP
[W]
[W-1]

## Slide 14
4.
Time response
- transit-time spread
- RC time-limited
response
- fixed gain-bandwidth product

## Slide 15: Photoconductive detectors
the conductivity increases
photoconductivity
(as long as the electron remains in the conduction band...)
if n too high,
absorption occurs
in a small layer
poor efficiency

## Slide 16
Photoconductive detectors: gain
If
and
then
G = t / tr
gain
t depends upon the material (defects, quality...)
ttr depends on the distance between the electrodes
Drawbacks:
high responsivity can be obtained only with slow
response times
random recombination process generates noise

## Slide 17: Photoconductive detectors: application circuits
VBB
RPC
just if interested to
the variations of
radiant intensity
small output voltage! (low RL)
poor sensitivity! (low RPC)
Photoconductivity measurement
needs an external bias circuitry

## Slide 18: Photoconductive detectors : application circuits

## Slide 19: Photoconductive detectors : application circuits
The most common method used to extract the
signal is
to modulate the incident radiation at a specific frequency
by placing a mechanical chopper in front of the sensor
or by electrically modulating the radiation source
?????????????????????????????
either
The signal due to radiation is now an AC signal while the dark current is a DC signal.
The AC signal can be separated from the DC background signal using an AC amplifier
voltage mode amplifier

## Slide 20
Fotoresistors (LDR)
Large surface
Close electrodes

## Slide 21: Multiple-quantum well (MQW) detectors

## Slide 22: p-n junction detector (photodiode)
photovoltaic mode
photoconductive mode
il
I0
(P0 = I0A)
I0 light irradiance falling on a cell of area A

## Slide 23: Silicon photodiode
or…

## Slide 24: Silicon photodiode

## Slide 25: Silicon photodiode: responsivity

## Slide 26: Photodiode materials (near IR)
Ge lG = 1.88 mm
InxGa1-xAs
(x = 0.53)
lG = 1.68 mm
lattice matched to InP
Why not homojunctions?
with narrow bandgap materials:
- low breakdown voltages
- large reverse leakage current
wider
bandgap

## Slide 27: Phototransistors
VCB < 0
IB
IE = b IB
Higher sensitivity (mA)
but…
less velocity
(ms vs. ns of photodiodes)

## Slide 28: Avalanche photodetectors (APD)
The guard ring structure is a low doping region where depletion region
extends an appreciable distance into it
In the vicinity of guard ring the total depletion layer is greater (hence the
maximum electric field is lower) than in the central region
reduced breakdown
no current leakage from the edge

## Slide 29: Charge-Coupled Devices (CCD)

## Slide 30: Charge-Coupled Devices (CCD)

## Slide 31: Charge-Coupled Devices (CCD)

## Slide 32: CCD: read-out mechanisms

## Slide 33: CCD: read-out mechanisms